weIGd bs-76

†µvocÎ  ÔKÕ

cÖ‡qvRbxq we¯ÍvwiZ weeiY

`icÎ bs 23.27.0000.166.109(4).3256105.17.18 					         ZvwiL t  27-10-2018

| µwgK | cY¨ mieiv‡ni cÖK…wZ | GKK | cwigvb | g~j¨nvi (AsK I K_vq) | gšÍe¨ |
| --- | --- | --- | --- | --- | --- |
| 01/02 | Magnetic Contactor 3 Phase, 95A, 380V, Coil Voltage: 220V with Auxiliary Contact, No & NC, Model LC1D95 (As per sample or Equivalent) Country: China | No | 20 |  |  |
| 02/04 | Ragin Cord Solder Size: 14/16 SWG , Country: Any Country | Kg | 05 |  |  |
| 03/05 | Rechargeable Battery 12V, 7-7.5AH (Sealed Lead Type) Country: Any Country | No | 10 |  |  |
| 04/06 | Rechargeable Battery Accu Plus Ultra, Ni-MH, 9V, 150mAh, No-5522 Country: Any Country | No | 30 |  |  |
| 05/07 | Automatic Battery Charger 50V DC, Input Voltage: 220-230VAC, Output Voltage: 14V, 28V DC Including Ammeter: 0-50A DC, Voltmeter:0-100V DC, Current Control System Country: Any Country | No | 02 |  |  |
| 06/08 | Non Rechargeable Battery 6V, BR-AGCF 2W Country: Japan | No | 05 |  |  |
| 07/09 | Lithium Battery For CNC Lathe M/C of DV-1 CR-17450SE-R OR Equivalent 3V Country: Any Country | No | 04 |  |  |
| 08/13 | Heater for Dry Oven Length: 12 Inch, Dia: 1.5 Inch, Model: CS101-4 Country: China | No | 02 |  |  |
| 09/14 | Hot Gun Model: SKlL 8003, 223V-240V AC, 1800W, 50/60Hz (As per Sample or Equivalent) Country: Any Country | No | 02 |  |  |
| 10/16 | Speed Control Unit 250V, 250W (As per Sample) Country: China | No | 16 |  |  |
| 11/17 | CNC Control System For CNC Machine Model: CAK 6132 CNC Lathe Including : a. Key Board, b. SHARPLM320 19TR (Display Unit), c. 980 TD MB,REV 2.41, d. GSK 980 TD, DRV-V-2-23, e. GSK 980 TD,lO,REV-2-32 (As per Sample) Country: China | No | 02 |  |  |
| 12/18 | Exciter Lamp FX-2 Shop, 6V, 25~30W (BC) (As per sampler or Equivalent) for Visual Inspection machine of FX-2 Shop Country: Any Country | No | 50 |  |  |
| 13/19 | Control PCB, Model: GDJK-3 PCB (As per sample) for Photo Electric Machine of FX-3 Shop Country: China | No | 10 |  |  |
| 14/20 | On Load Tap Changer (Regulator) For salt Bathe Furnace of CT-1 Max Current (Primary) : 160A, Capacity: 115 KVA, (As per sample or Equivalent) Country: Any Country | No | 04 |  |  |

wet `ªt

K| 	D‡jøwLZ `i CD I VAT mn D‡jøL KiZt `vwLj Ki‡Z n‡e| weIGd G mieiv‡ni c~e© ch©šÍ KZ…©cÿ †Kvb `vq-`vwqZ¡ MÖnY Ki‡e bv|

L|	c‡Y¨i Drm †`k D‡jøL bv _vK‡j wKsev GKvwaK Drm †`‡ki †ejvq g~‡j¨v×…wZ cÖ`vb Kv‡j Aek¨B wbw`©ó K‡i Drm †`k D‡jøL Ki‡Z n‡e|

M| 	‡`kxq gy`ªvq µ‡qi †ÿ‡Î ¯’vbxq Drm n‡Z mieiv‡ni †ÿ‡Î 90 w`b Ges ˆe‡`wkK Drm n‡Z mieiv‡ni †ÿ‡Î 180 w`b A_ev Zrc~‡e© cY¨ mieivn Ki‡Z n‡e|

N|	mieivn Av‡`‡ki cÖv°v‡j Performence Security (PS) wn‡m‡e †gvU g~‡j¨i Dci 5% nv‡i KgvÛ¨v›U, weIGd MvRxcyi K¨v›Ut Gi AbyK‚‡j (†c-AW©vi) `vwLj Ki‡Z n‡e| m‡šÍvlRbKfv‡e cY¨ mieivn Ges cwi`k©‡b M„nxZ nIqvi ci n‡Z Guarantee/Waranty period 01 (GK) eQi (‡h †ÿ‡Î cÖ‡hvR¨) AwZµvšÍ n‡j D³ †c-AW©vi †dir cÖ`vb Kiv n‡e| cY¨ mieiv‡n e¨_© n‡j mieivn Av‡`k evwZj KiZt `vwLjK…Z Performence Security (PS) ev‡Rqvß K‡i miKvix †KvlvMv‡i Rgv Kiv n‡e|

O|	cÖZ¨vL¨vZ cY¨ †diZ‡hvM¨ bq, hv ev‡Rqvß Kiv n‡e|

P|	wbgœwjwLZ mb`c‡Îi mZ¨vwqZ d‡UvKwc `ic‡Îi mv‡_ Aek¨B mshy³ Ki‡Z n‡et

(1) †UªW jvB‡mÝ

(2) f¨vU †iwR‡óªkb mb`

(3) wU AvB Gb mb`

|  |  | `ic‡Î Ask MÖnbKvixi ¯^v¶i |
| --- | --- | --- |
| ¯’vbt |  | (eo A¶‡i bvg) |
| ZvwiLt |  | mxj‡gvni |